## ReadMe
This Excel file contains the flux data collected on Monday October
26, 2026. I was able to use the 7810 after reverting to the black
Ethernet cable, plugging the cable into the 7810 tightly, and
visually checking the connection to see if it's plugged in tightly.
So this dataset has CO2 and methane flux values. This dataset uses
collar offset values and diameters measured on October 19; we did
not measure new offset values for the 26th.
I recalculated fluxes for a total of 8 collars. I recalculated
fluxes for 2 collars (collar B in groves 1 & 3) because the mean
offset calculated in the field on the 19th was slightly wrong.
I also recalculated fluxes for an additional 6 collars. We initially
believed that collars under a single tree consistently have the same
internal diameter and collars under groves should be the same.
Furthermore, I did not check internal diameters for collars under
trees 11 & 15 and so used 20 cm for them in the field. These led to
discrepancies with collar diameters on the 19th. I decided to use
collar diameters on the 19th because they were actually measured on
that date. This led to me changing diameters for 6 collars, resulting
in a total of 8 collars whose fluxes needed to be recalculated.
Collars whose fluxes I recalculated due to discrepancies in offsets
were
- Grove 3 collar B
- Grove 1 collar B
Collars whose fluxes I recalculated due to discrepancies in internal
diameters were
- Tree 16 collar B
- Tree 13 collar B
- Tree 15 collar A
- Tree 15 collar B
- Tree 11 collar A
- Grove 5 collar C
Units:
- CO2 flux: micromole CO2 per square meter per second
- methane flux: nanomole CH4 per square meter per second
- soil area: centimeter square
- offset: centimeter
- volumes (chamber, gas analyzer, and total): centimeter cube
- Initial pressure (P_o): kPa
- Initial temperature (T_o): Celsius
- Initial water vapor mole fraction (W_o): mmol H2O/mol air

## Data
idTag | CO2flux | CO2fluxSlope | CO2flux_Rsquared | methaneFlux | methaneFluxSlope | methaneFlux_Rsquared | remark | gasAnalyzer | soilArea | offset | chamberVolume | gasAnalyzerVolume | totalVolume | dateTime | P_o | T_o | W_o | plotType | plotNumber | collar
Grass11A | 1.2293 | 0.16812 | 0.99803 | -0.64959 | -0.088838 | 0.99867 |  | LI-7810 | 314.16 | 4.2 | 4244.1 | 46.96 | 5610.53 | 2026-10-26 08:36:05 | 98.4133 | 12.0804 | 13.3977 | Grass | 11 | A
Grass11B | 1.4237 | 0.19064 | 0.99763 | -0.63849 | -0.085497 | 0.99883 |  | LI-7810 | 314.16 | 4.575 | 4244.1 | 46.96 | 5728.34 | 2026-10-26 08:39:37 | 98.4171 | 11.9327 | 13.6408 | Grass | 11 | B
Grass11C | 1.9584 | 0.27696 | 0.9975 | -0.46455 | -0.065697 | 0.99796 |  | LI-7810 | 314.16 | 3.6 | 4244.1 | 46.96 | 5422.04 | 2026-10-26 08:32:18 | 98.4183 | 11.8067 | 13.7428 | Grass | 11 | C
Grass13A | 1.5068 | 0.20971 | 0.99778 | -0.50428 | -0.070184 | 0.99826 |  | LI-7810 | 314.16 | 4.2 | 4244.1 | 46.96 | 5610.53 | 2026-10-26 09:34:10 | 98.532 | 16.2712 | 17.4723 | Grass | 13 | A
Grass13B | 1.7027 | 0.242 | 0.9981 | -0.43183 | -0.061376 | 0.99769 |  | LI-7810 | 314.16 | 3.85 | 4244.1 | 46.96 | 5500.58 | 2026-10-26 09:38:29 | 98.5207 | 16.7322 | 16.9749 | Grass | 13 | B
Grass13C | 1.3878 | 0.20016 | 0.99687 | -0.55727 | -0.080372 | 0.99835 |  | LI-7810 | 314.16 | 3.65 | 4244.1 | 46.96 | 5437.74 | 2026-10-26 09:41:57 | 98.5431 | 17.4743 | 17.7799 | Grass | 13 | C
Grass15A | 2.1864 | 0.30243 | 0.99902 | -0.67834 | -0.093832 | 0.99909 |  | LI-7810 | 314.16 | 4 | 4244.1 | 46.96 | 5547.7 | 2026-10-26 08:20:57 | 98.414 | 12.3532 | 12.5822 | Grass | 15 | A
Grass15B | 0.55888 | 0.078396 | 0.98193 | -0.64028 | -0.089815 | 0.99871 |  | LI-7810 | 314.16 | 3.725 | 4244.1 | 46.96 | 5461.31 | 2026-10-26 08:28:35 | 98.4104 | 11.6982 | 13.1325 | Grass | 15 | B
Grass15C | 1.7575 | 0.24175 | 0.99694 | -0.85527 | -0.11764 | 0.99941 |  | LI-7810 | 314.16 | 4.075 | 4244.1 | 46.96 | 5571.26 | 2026-10-26 08:24:59 | 98.4185 | 11.7957 | 13.2096 | Grass | 15 | C
Grass16A | 2.0033 | 0.27537 | 0.99413 | -0.61055 | -0.083927 | 0.99877 |  | LI-7810 | 314.16 | 4.8 | 4244.1 | 46.96 | 5799.03 | 2026-10-26 11:11:24 | 98.4004 | 22.4351 | 15.7224 | Grass | 16 | A
Grass16B | 1.6973 | 0.24188 | 0.99784 | -0.62616 | -0.089234 | 0.99899 |  | LI-7810 | 314.16 | 4.22 | 4244.1 | 46.96 | 5616.82 | 2026-10-26 11:15:49 | 98.3912 | 23.6345 | 15.7262 | Grass | 16 | B
Grass16C | 2.302 | 0.32998 | 0.99782 | -0.63039 | -0.090363 | 0.99886 |  | LI-7810 | 314.16 | 4.25 | 4244.1 | 46.96 | 5626.24 | 2026-10-26 11:19:28 | 98.3975 | 25.6914 | 16.3977 | Grass | 16 | C
Grass17A | 2.0573 | 0.28944 | 0.99292 | -0.54844 | -0.077158 | 0.99843 |  | LI-7810 | 314.16 | 4.4 | 4244.1 | 46.96 | 5673.36 | 2026-10-26 10:47:03 | 98.4077 | 22.5639 | 16.6555 | Grass | 17 | A
Grass17B | 2.3774 | 0.34498 | 0.99745 | -0.69397 | -0.1007 | 0.999 |  | LI-7810 | 314.16 | 3.775 | 4244.1 | 46.96 | 5477.01 | 2026-10-26 10:51:14 | 98.3979 | 21.396 | 16.2166 | Grass | 17 | B
Grass17C | 2.0059 | 0.28511 | 0.99239 | -0.42481 | -0.060379 | 0.99671 |  | LI-7810 | 314.16 | 4.3 | 4244.1 | 46.96 | 5641.95 | 2026-10-26 10:55:56 | 98.3929 | 24.0931 | 16.0253 | Grass | 17 | C
Grove1A | 3.4835 | 0.48838 | 0.99949 | -0.56408 | -0.079081 | 0.99887 |  | LI-7810 | 314.16 | 4.07 | 4244.1 | 46.96 | 5569.69 | 2026-10-26 09:59:04 | 98.5697 | 17.0256 | 15.2862 | Grove | 1 | A
Grove1C | 2.7426 | 0.36812 | 0.99917 | -0.47951 | -0.064361 | 0.998 |  | LI-7810 | 314.16 | 4.88 | 4244.1 | 46.96 | 5824.16 | 2026-10-26 10:06:17 | 98.5545 | 17.0445 | 16.1942 | Grove | 1 | C
Grove2A | 3.4049 | 0.46753 | 0.99918 | -0.063521 | -0.0087222 | 0.93145 |  | LI-7810 | 314.16 | 4.55 | 4244.1 | 46.96 | 5720.49 | 2026-10-26 10:13:22 | 98.5671 | 18.3993 | 16.446 | Grove | 2 | A
Grove2B | 4.2214 | 0.58282 | 0.9996 | -0.1294 | -0.017865 | 0.97748 |  | LI-7810 | 314.16 | 4.475 | 4244.1 | 46.96 | 5696.93 | 2026-10-26 10:19:59 | 98.5518 | 18.7127 | 16.5442 | Grove | 2 | B
Grove2C | 2.5978 | 0.35776 | 0.99909 | -0.041919 | -0.0057729 | 0.81559 |  | LI-7810 | 314.16 | 4.5 | 4244.1 | 46.96 | 5704.78 | 2026-10-26 10:16:42 | 98.5543 | 18.4694 | 16.2671 | Grove | 2 | C
Grove3A | 3.6341 | 0.51617 | 0.99959 | -0.28511 | -0.040496 | 0.99466 |  | LI-7810 | 314.16 | 3.775 | 4244.1 | 46.96 | 5477.01 | 2026-10-26 09:26:18 | 98.5402 | 15.4978 | 16.5021 | Grove | 3 | A
Grove3C | 6.8859 | 0.91968 | 0.9997 | -0.61072 | -0.081569 | 0.99798 |  | LI-7810 | 314.16 | 4.825 | 4244.1 | 46.96 | 5806.88 | 2026-10-26 09:18:50 | 98.5527 | 14.838 | 15.8861 | Grove | 3 | C
Grove4A | 2.5564 | 0.35226 | 0.99882 | -1.1134 | -0.15342 | 0.99933 |  | LI-7810 | 314.16 | 4.275 | 4244.1 | 46.96 | 5634.09 | 2026-10-26 09:04:32 | 98.5084 | 15.1228 | 15.4378 | Grove | 4 | A
Grove4B | 3.8007 | 0.52809 | 0.99904 | -1.6901 | -0.23483 | 0.99931 |  | LI-7810 | 314.16 | 4.2 | 4244.1 | 46.96 | 5610.53 | 2026-10-26 09:08:19 | 98.5161 | 16.1622 | 16.0429 | Grove | 4 | B
Grove4C | 3.9958 | 0.53614 | 0.99952 | -3.1396 | -0.42126 | 0.99824 |  | LI-7810 | 314.16 | 4.8 | 4244.1 | 46.96 | 5799.03 | 2026-10-26 09:11:34 | 98.52 | 15.6694 | 15.9139 | Grove | 4 | C
Grove5A | 4.2287 | 0.57132 | 0.99962 | -0.61075 | -0.082516 | 0.99874 |  | LI-7810 | 314.16 | 4.975 | 4244.1 | 46.96 | 5854.01 | 2026-10-26 10:35:07 | 98.5185 | 20.4792 | 15.7293 | Grove | 5 | A
Grove5B | 5.9985 | 0.82159 | 0.99921 | -0.645 | -0.088343 | 0.99824 |  | LI-7810 | 314.16 | 4.75 | 4244.1 | 46.96 | 5783.32 | 2026-10-26 10:38:45 | 98.5089 | 20.8956 | 15.7346 | Grove | 5 | B
Tree11B | 11.1991 | 1.2627 | 0.99977 | -0.87228 | -0.098352 | 0.99449 |  | LI-7810 | 314.16 | 8.225 | 4244.1 | 46.96 | 6875.03 | 2026-10-26 08:48:32 | 98.4319 | 14.1094 | 16.6771 | Tree | 11 | B
Tree13A | 8.6164 | 0.894 | 0.99953 | -1.024 | -0.10624 | 0.9977 |  | LI-7810 | 298.65 | 9.63 | 4244.1 | 46.96 | 7167.06 | 2026-10-26 09:47:03 | 98.5327 | 17.1118 | 16.3784 | Tree | 13 | A
Tree16A | 4.3494 | 0.48261 | 0.99921 | -0.16897 | -0.018749 | 0.98027 |  | LI-7810 | 298.65 | 8.57 | 4244.1 | 46.96 | 6850.49 | 2026-10-26 11:23:21 | 98.3907 | 23.4512 | 15.2928 | Tree | 16 | A
Tree17A | 4.1859 | 0.49953 | 0.99939 | -1.1402 | -0.13607 | 0.99939 |  | LI-7810 | 314.16 | 7.53 | 4244.1 | 46.96 | 6656.68 | 2026-10-26 11:01:37 | 98.4069 | 21.5182 | 15.4524 | Tree | 17 | A
Tree17B | 3.3499 | 0.38767 | 0.99913 | -0.85655 | -0.099125 | 0.9991 |  | LI-7810 | 314.16 | 8.325 | 4244.1 | 46.96 | 6906.44 | 2026-10-26 11:06:47 | 98.3936 | 23.2514 | 15.5507 | Tree | 17 | B
Grove1B | 4.4886 | 0.61889 | 0.99956 | -0.57024 | -0.078625 | 0.99878 |  | LI-7810 | 314.16 | 4.1 | 4244.1 | 46.96 | 5579.116 | 2026-10-26 10:02:58 | 98.5602 | 17.1067 | 16.0635 | Grove | 1 | B
Grove3B | 5.5536 | 0.72185 | 0.99971 | -0.54398 | -0.070706 | 0.99869 |  | LI-7810 | 314.16 | 5.075 | 4244.1 | 46.96 | 5885.422 | 2026-10-26 09:22:14 | 98.5343 | 15.4225 | 16.4713 | Grove | 3 | B
Grove5C | 3.4825 | 0.43966 | 0.99926 | -0.6018 | -0.075976 | 0.99832 |  | LI-7810 | 298.65 | 5.22 | 4244.1 | 46.96 | 5850.013 | 2026-10-26 10:31:14 | 98.51 | 19.8473 | 15.7746 | Grove | 5 | C
Tree11A | 10.1588 | 1.0455 | 0.99953 | -0.93035 | -0.095744 | 0.99754 |  | LI-7810 | 298.65 | 9.15 | 4244.1 | 46.96 | 7023.7075 | 2026-10-26 08:44:23 | 98.4306 | 13.3761 | 14.7827 | Tree | 11 | A
Tree13B | 7.1426 | 0.80521 | 0.99977 | -0.87014 | -0.098094 | 0.99783 |  | LI-7810 | 314.16 | 8.05 | 4244.1 | 46.96 | 6820.048 | 2026-10-26 09:51:35 | 98.5392 | 16.8962 | 16.3086 | Tree | 13 | B
Tree15A | 3.859 | 0.4155 | 0.99789 | -1.09 | -0.11736 | 0.99849 |  | LI-7810 | 298.65 | 8.13 | 4244.1 | 46.96 | 6719.0845 | 2026-10-26 08:56:56 | 98.4577 | 13.7073 | 15.5119 | Tree | 15 | A
Tree15B | 11.1103 | 1.1813 | 0.99117 | -1.418 | -0.15076 | 0.99761 |  | LI-7810 | 298.65 | 8.425 | 4244.1 | 46.96 | 6807.1862 | 2026-10-26 08:53:08 | 98.4435 | 13.7881 | 15.3627 | Tree | 15 | B
Tree16B | 4.4342 | 0.52174 | 0.99967 | -0.13929 | -0.01639 | 0.97074 |  | LI-7810 | 314.16 | 7.53 | 4244.1 | 46.96 | 6656.6848 | 2026-10-26 11:28:28 | 98.3905 | 21.8783 | 15.0881 | Tree | 16 | B