## ReadMe
The flux data for October 12 was taken with the licor-870. There were
connectivity issues between the licor-7810 and the smart chamber
such that we could not select the gas analyzer when setting up
the flux measurement process on the tablet. This was later
troubleshot by Jani and I back in the processing lab as a faulty
Ethernet cable. Thus, we switched to the 870 instead. The 870
can only measure CO2 and so this dataset only included CO2 fluxes.
We successfully measured all 40 collars with no repeated measurements
at any collars. The 2 measurements with the lowest R-squared
are tree 11 collar B (0.914) and grove 5 collar C (0.953). Similar
to the methane fluxes taken on October 5, these lower R-squared
values might be due to the relatively low magnitude of the flux values.
I computed a linear regression between the flux values and their
respective R-squared values and found that there's a positive
correlation between the 2, and the R-squared of this linear
regression is 0.338. This seems to indicate that the higher the
magnitude of the flux (whether a positive or negative flux), the
higher the R-squared of the flux, and the lower the magnitude of
the flux, the lower the R-squared.
Once again, the fluxes are in units of micromole per square meter
per second.

## Data
idTag | CO2flux | CO2flux_Rsquared | dateTime | offset | soilArea | plotType | plotNumber | collar
Grove5C_soilAndLitter | 1.446 | 0.95269 | 2026-10-12 12:04:55 | 5.1 | 314.16 | Grove | 5 | C
Grove5A_soilAndLitter | 2.5855 | 0.99189 | 2026-10-12 12:10:12 | 4.85 | 314.16 | Grove | 5 | A
Grove5B_soilAndLitter | 4.7453 | 0.99599 | 2026-10-12 12:13:48 | 4.8 | 314.16 | Grove | 5 | B
Grass15C | 2.7014 | 0.99057 | 2026-10-12 12:21:17 | 3.9 | 314.16 | Grass | 15 | C
Grass15A | 2.2921 | 0.9883 | 2026-10-12 12:26:07 | 3.925 | 314.16 | Grass | 15 | A
Grass15B | 3.0804 | 0.99215 | 2026-10-12 12:30:42 | 3.625 | 314.16 | Grass | 15 | B
Tree15A | 5.2339 | 0.99574 | 2026-10-12 12:37:30 | 8.2 | 298.65 | Tree | 15 | A
Tree15B | 4.1323 | 0.99361 | 2026-10-12 12:42:02 | 9.07 | 298.65 | Tree | 15 | B
Grass11B | 2.2555 | 0.98819 | 2026-10-12 12:49:46 | 4.53 | 314.16 | Grass | 11 | B
Grass11A | 2.5934 | 0.99057 | 2026-10-12 12:54:27 | 4.225 | 314.16 | Grass | 11 | A
Grass11C | 2.7168 | 0.99182 | 2026-10-12 12:58:31 | 3.6 | 314.16 | Grass | 11 | C
Tree11B | 1.0386 | 0.91448 | 2026-10-12 13:03:13 | 8.38 | 298.65 | Tree | 11 | B
Tree11A | 4.4367 | 0.99406 | 2026-10-12 13:07:34 | 8.875 | 298.65 | Tree | 11 | A
Grass13A | 2.0954 | 0.98525 | 2026-10-12 13:14:29 | 4.13 | 314.16 | Grass | 13 | A
Grass13B | 2.2811 | 0.9915 | 2026-10-12 13:19:07 | 4 | 314.16 | Grass | 13 | B
Grass13C | 2.2098 | 0.98589 | 2026-10-12 13:23:31 | 3.875 | 314.16 | Grass | 13 | C
Tree13A | 3.4449 | 0.99244 | 2026-10-12 13:28:57 | 9.38 | 298.65 | Tree | 13 | A
Tree13B | 3.9265 | 0.99509 | 2026-10-12 13:33:43 | 8.425 | 298.65 | Tree | 13 | B
Grove1C_soilAndLitter | 3.0284 | 0.99276 | 2026-10-12 13:42:03 | 4.9 | 314.16 | Grove | 1 | C
Grove1B_soilAndLitter | 2.619 | 0.98938 | 2026-10-12 13:45:38 | 4.4 | 314.16 | Grove | 1 | B
Grove1A_soilAndLitter | 3.1727 | 0.99397 | 2026-10-12 13:50:03 | 4.55 | 314.16 | Grove | 1 | A
Grove4C_soilAndLitter | 2.0807 | 0.98992 | 2026-10-12 13:58:24 | 5.07 | 314.16 | Grove | 4 | C
Grove4B_soilAndLitter | 2.3952 | 0.98349 | 2026-10-12 14:02:34 | 4.95 | 314.16 | Grove | 4 | B
Grove4A_soilAndLitter | 1.8556 | 0.98889 | 2026-10-12 14:06:08 | 4.625 | 314.16 | Grove | 4 | A
Grove3C_soilAndLitter | 2.0288 | 0.9863 | 2026-10-12 14:15:26 | 4.47 | 314.16 | Grove | 3 | C
Grove3B_soilAndLitter | 1.7967 | 0.97897 | 2026-10-12 14:19:27 | 5.35 | 314.16 | Grove | 3 | B
Grove3A_soilAndLitter | 1.6142 | 0.98225 | 2026-10-12 14:23:34 | 4.675 | 314.16 | Grove | 3 | A
Grove2A_soilAndLitter | 2.2577 | 0.99172 | 2026-10-12 14:36:04 | 4.88 | 314.16 | Grove | 2 | A
Grove2C_soilAndLitter | 1.5648 | 0.98238 | 2026-10-12 14:39:34 | 4.725 | 314.16 | Grove | 2 | C
Grove2B_soilAndLitter | 2.1744 | 0.97949 | 2026-10-12 14:43:17 | 4.625 | 314.16 | Grove | 2 | B
Grass17a_soil | 3.1082 | 0.99465 | 2026-10-12 15:02:03 | 4.8 | 314.16 | Grass | 17 | A
Grass17bsoil | 2.6635 | 0.99341 | 2026-10-12 15:05:59 | 4 | 314.16 | Grass | 17 | B
Grass17csoil | 2.6205 | 0.99163 | 2026-10-12 15:10:27 | 4.525 | 314.16 | Grass | 17 | C
Tree17asoil | 3.6214 | 0.99311 | 2026-10-12 15:14:56 | 7.65 | 314.16 | Tree | 17 | A
Tree17bsoil | 2.2438 | 0.97703 | 2026-10-12 15:19:13 | 8.275 | 314.16 | Tree | 17 | B
Grass16asoil | 2.4286 | 0.99152 | 2026-10-12 15:23:23 | 4.675 | 314.16 | Grass | 16 | A
Grass16bsoil | 2.5168 | 0.99158 | 2026-10-12 15:27:11 | 4.25 | 314.16 | Grass | 16 | B
Grass16csoil | 3.1104 | 0.99573 | 2026-10-12 15:30:54 | 4.4 | 314.16 | Grass | 16 | C
Tree16asoil | 3.4372 | 0.99379 | 2026-10-12 15:35:47 | 8.875 | 298.65 | Tree | 16 | A
Tree16bsoil | 3.9412 | 0.99557 | 2026-10-12 15:40:23 | 8.05 | 314.16 | Tree | 16 | B